*** During the Cruise the underway fluorometer seemed to not have been cleaned prior to the cruise and there was aa growth and the values read very high and had poor agreement with the bottle.

Information provided by:

Shipboard Meteorological System MetAcq Operator’s Manual

Shipboard Technical Support Revision 1.26a	24 May 2003

http://www.hlsresearch.com/KauaiEx/MET/docs/MetAcq.htm

Each data point has a 2 character ID to identify it.

There is also a third character to help clarify the type of data.

E.g. +25.3,AT0 (air temperature, calibrations not applied).

Underway_Raw.txt Variables:

$WICOR	Data Corrected

DDMMYY

HHMMSS

WS	Wind Speed

WD	Wind Direction

TW	True Wind Speed	M/S

TI	True Wind Direction	Deg

WS	Wind Speed

WD	Wind Direction

TW	True Wind Speed	M/S

TI	True Wind Direction	Deg

AT	Air Temperature	Deg C

BP	Barometric Pressure	mb

RH	Relative Humidity	%RH

RT	Air Temp (RH module)	Deg C

DP	Dew Point	Deg C

PR	Precipitation	mm

LD	LWR Dome Temperature	Deg K

LB	LWR Body Temperature	Deg K

LT	LWR Thermopile Volts

LW	Long Wave Radiation	W/M^2 (Pyranometer)

SW	Short Wave Radiation W/M^2 (Pyranometer)

PA	Surface PAR	uE/Second/Meter^2

ST	Sea Surface Temperature	Deg C

TT	SBE21 Temperature	Deg C

TC	SBE21 Conductivity	mS/m

SA	Salinity	PSU

SD	Sigma-t	Kg/m^3

SV	Sound Vel (Chen/Millero)	M/S

FL	Fluorometer	ug/l

FI	USW Flow Meter	LPM

BT	Bottom Depth	Meters

LA 	Latitude  Decimal format	Deg

LO	Longitude Decimal format	Deg

GT	GPS Time of Day	GMT Secs 0-86400

CR	Ships Course (GPS COG)	Deg

SP	Ships Speed (GPS SOG)	Knts

ZD	GPS DateTime	GMT Secs Since 00:00:00 01/01/1970

GA

GS

GY	Ships Heading (Gyrocompass)	Deg

SL	Ships Speed (Speed Longitude)	Knts

SX

SH	Ashtech Heading	Deg

SM	Ashtech Pitch	Deg

SR	Ashtech Roll	Deg

ZO	Winch Cable

ZS	Winch Speed

ZT	Winch Tension

IP

IV

IA9*77,

Event_Num	CalCOFI Event# Appended

Each data point has a 2 character ID to identify it.

There is also a third character to help clarify the type of data.

E.g. +25.3,AT0 (air temperature, calibrations not applied).

0 - Calibration coefficients not applied

1 - Calibration coefficients applied in Sensor Module

2 - Calibration coefficients applied in Acquisition computer

3 - Calibration coefficients applied in Sensor Module and Acquisition computer

7 - Data Out of Range

8 - Data is Emulated (Not Real)

9 - Data invalid

Underway_Final.txt Variables:

DATE_UTC	DDMMYY

TIME_UTC	HHMMSS

LA 	Latitude  Decimal format	Deg

LO	Longitude Decimal format	Deg

ST	Sea Surface Temperature	Deg C

SA	Salinity	PSU

FL	Fluorometer	ug/l

FI	USW Flow Meter	LPM

CAL_T	Calculated Temperature

CAL_S	Calculated Salinity

CAL_C	Calculated Chlorophyll A