Metanotes RL1902 Leg 1 Spring CalCOFI/ Gear Selectivity

* 4/2 ~ 1500 TSG pump 1 was turned on with the assistance of GVA Ford
* 4/4 at 1630 SST Mazzella noticed -80 freezer was reading -39 and rising steadily. I notified the Chief Scientist to move anything that is theirs to the -30 freezer temporarily. I reset the breaker but that didn’t seem to do anything. Motor sounded like it was trying to start up but was giving out.
* 4/12 ~ 1030 TSG pump was turned on
* 4/14 ~ 1200 SST Mazzella noticed -80 freezer was up at -60C and rising again. Notified engineer GVA Ford. It seemed to have fixed itself.
* 4/18 0707 Centerboard Retracted

Leg 2

* 4/23 0830 SST Mazzella started SCS A/B
* 4/23 ~1100 Centerboard Intermediate
* 4/25 1940 CTD was tested, successful cast
* 4/28 1300 started ADCP calibration restarted, calibration at 2130
* 4/28 1430-1445 went dark ship
* 4/29 0745 Sea and anchor detail ..TSG was secured
* 4/29 0900 Moored at fuel pier
* 4/29 1330 Moored at home berth